# How to run the viewer software (as at 10 July 2014)

Warning: This software is provided as-is, with no guarantee. Use at your own risk.

Compatibility: The software was compiled using the free version of Microsoft Visual Studio Express, targeted for .NET version 3.5. This may work on Microsoft Windows 7, Windows 8, and possibly some earlier versions. It has worked on some Windows XP systems.

Installation: if you are reading this then you have probably already downloaded a zip file from the GNHounsfield.org website.  You should now use “extract all” to unzip the zip file, and then click on the file CT80ViewNET35.exe – your operating software and your virus checker will report that the file is not signed, and ask if you wish to proceed at your own risk. After the software starts you should get a display similar to that shown below, but it will not yet show the CT image of a brain.

The Free early CT software page of the GNHounsfield.org website

The home page of the GNHounsfield.org website
(click on the link above the word “intuitive” to go to the free software page)

Use the “file open” box to select a CT scan. This is a file in CSV format which can be 320x320 or 160x160 or 80x80 or 40x40 or any integer sub-multiple.

There are currently two CT scan images on the website. Both are based on the brain scan shown above, which is from a scan on 10 November 1971. Both of these have been converted from the early “EMI” scale which had air at –500 to the “Hounsfield Unit” scale which has air at –1000. One of the images has had 1000 subtracted from the area outside the skull. This mimics the effect of having air around the skull, instead of the water box which Godfrey Hounsfield had used.

The window level and window width controls are at the bottom left. You can also use the + and – keys on the keyboard of your PC to move the window level up or down.

The “retro” button puts a grid around each pixel to mimic EMI’s 1972 viewer. The “x2” button doubles the size of the window.

Many thanks to Ian Green for producing this viewer.